## Slide 1: Decontamination and Reuse of N95 Filtering Facepiece Respirators
March 31, 2020
David Shelep
Microbiologist, Consultant
Paramount Sciences
Representing:

## Slide 2: Agenda
Background
  The need, methods, what is important in sanitizing
Technologies
  Ultraviolet light
  Chlorine dioxide
Next steps

## Slide 3: Background on me…
B.S. Microbiology
Food Laboratory testing
20+ years in Microbiology sales and service
  Clinical Microbiology
  Pharmaceutical Microbiology
  Food Microbiology
  Environmental Monitoring
  Microbial Identifications
  American Society for Microbiology, Northeast Association for Clinical Microbiology and Infectious Diseases, International Association for Food Protection, Parenteral Drug Association
Coordinate my interdisciplinary Microbiology experience for clients and vendors matching their needs and solutions

## Slide 4: The need regarding Filtering Facepiece Respirators (FFR) N95’s
It has been anticipated, but measures not widely planned or implemented
Limited reuse has been recommended as an option for conserving FFR
During an influenza pandemic in the U.S. alone 1.7-7.3 billion FFR’s could be needed
  The National Institute for Occupational Safety and Health (NIOSH)
    PANDEMIC PLANNING - Recommended Guidance for Extended Use and Limited Reuse of N95 Filtering Facepiece Respirators in Healthcare Settings
  American Journal of Infection Control, 2018
    Ultraviolet germicidal irradiation of inﬂuenza-contaminated N95 ﬁltering facepiece respirators
    Devin Mills BS, Delbert A. Harnish MS*, Caryn Lawrence BS, Megan Sandoval-Powers BS, Brian K. Heimbuch MS

## Slide 5: Some methods under consideration
Heat
Ultraviolet light
Manual alcohol or bleach cleaning
Hydrogen peroxide
Steam
Microwave
Chlorine dioxide

## Slide 6: Considerations for sanitizing or decontaminating
  The method must able to kill the organism in question
    Bacteria, viruses, fungi, spores, etc.
  It must achieve good and complete distribution
    Where/how it is applied
  It must achieve thorough and total penetration
    The chemistry behind the method
  Can it achieve sufficient contact time at the correct concentration
    Material safety concerns

## Slide 7: UV Solution
Ultraviolet Light (UV-C) for Disinfection
  Benefits
    Quickly kills microorganisms by damaging their DNA
    Non-toxic to environment
    Leaves no residues
    Simple to use
    Costs pennies per cycle
  Downsides
    Shadow areas do not receive dosage
    Difficult to effectively use in large areas with many items
    Initial cost

## Slide 8: UV Solution
Ultraviolet Light (UV-C) for Disinfection
  Kills practically all organisms with the proper dosage
  Effective within (and limited by) line-of-sight
  Kill is dependent on dosage and intensity
  Dust and dirt reduces effectiveness
  Plain glass and most plastics block UV-C light
  Intensity falls with distance
  Can burn eyes and skin

## Slide 9: UV Solution
Ultraviolet Light (UV-C) for Disinfection
  Primary kill spectrum is 265nm (UV-C)
  Peak output of the bulbs is 253.7nm
  Nearly all UV systems use the same basic technology

## Slide 10: UV Solution
Ultraviolet Light (UV-C) for Disinfection

## Slide 11: UV Solution
Ultraviolet Light (UV-C) for Disinfection
  ClorDiSys will customize

## Slide 12: UV Solution
The Nebraska Medicine procedure is practical and easy to implement (if resources are available)
Other UV set-ups could be used
https://www.nebraskamed.com/sites/default/files/documents/covid-19/n-95-decon-process.pdf

## Slide 13: ClO2 Gas Solution
Chlorine Dioxide (Gas)
  Yellow-green gas – ability to monitor with photometric device
  Water soluble – not all sterilants can penetrate, vapors cannot
  Boiling point 10-11oC
    Not subject to condensation or temperature gradients
  Able to penetrate microscopic crevices where traditional sanitation cannot
  Gentler on materials than other methods (chlorine, peracetic acid, hydrogen peroxide, bleach)
  Non-carcinogenic
  Can be used in organic food manufacturing

## Slide 14: ClO2 Gas Solution
Chlorine Dioxide (Gas)
  Meets all criteria for an effective sanitization method
    Be able to kill the organism in question
    Achieve good and complete distribution
    Achieve thorough and total penetration
    Achieve sufficient contact time at the correct concentration
versus

## Slide 15: ClO2 Gas Solution

## Slide 16
What action items are needed?
  Study references mentioned
  Assess where N95 users need help
  Find resources of UV and other methods
  If a provider can guarantee services, get them on retainer
What can I do for you next?
David Shelep
760-413-5157
david@paramaountsciences.net